QUARTERLY INSPECTION CHECKLIST

For Victorian/Edwardian Terraced Properties - Newcastle

Property: _________________________________________________

Tenant: _________________________________________________

Inspection Date: ___________   Quarter: Q1 / Q2 / Q3 / Q4

Inspector: _________________________________________________

Purpose: Quick check of property condition, identify maintenance needs, and ensure tenant compliance

EXTERNAL CHECKS

☐ Roof slates - no visible damage or displacement

☐ Chimney - pots secure, pointing intact

☐ Gutters - clear of debris, no sagging

☐ Downpipes - attached, free-flowing

☐ External walls - pointing good, no cracks

☐ Windows - no rot, putty intact, opening properly

☐ Front door - secure, weather seal good

☐ Yard/garden - tidy, boundaries intact, drains clear

☐ Airbricks - all visible and unobstructed

☐ External lights - working

INTERNAL CHECKS - GENERAL

☐ Smoke alarms - tested and working

☐ CO detectors - tested and working (near boiler/fireplace)

☐ Heating - all radiators warm, no leaks

☐ Thermostat - set appropriately

☐ Overall cleanliness - acceptable standard

☐ Ventilation - windows opened regularly (check for condensation)

☐ Flooring - no bounce or damage

DAMP CHECKS (Critical for old terraces)

☐ External walls - no damp patches

☐ Window reveals - no condensation/mould

☐ Room corners - no mould growth

☐ Behind furniture - check if accessible

☐ Chimney breasts - no damp staining

☐ Bathroom - adequate ventilation, extractor working

☐ Kitchen - no excessive condensation when cooking

KITCHEN

☐ Oven/hob - clean and working

☐ Fridge - clean and working

☐ Washing machine - no leaks

☐ Dishwasher - working (if applicable)

☐ Worktops - no damage

☐ Sink/taps - no leaks, draining properly

☐ Cupboards - doors/hinges functioning

☐ Extractor fan - working

BATHROOM

☐ Bath/shower - clean, sealant intact, no leaks

☐ Toilet - clean, flushing properly

☐ Sink - clean, no leaks, draining properly

☐ Tiles - intact, grouting good condition

☐ Extractor fan - working

☐ No signs of leak damage to ceiling below (if upstairs bathroom)

BEDROOMS

☐ Walls - no damage beyond normal wear

☐ Carpets - no stains or damage

☐ Windows - opening, no condensation issues

☐ Radiators - working

☐ Light fittings - working

☐ No sign of damp or mould

LIVING ROOM

☐ Walls/ceiling - no damage

☐ Flooring/carpet - acceptable condition

☐ Windows - functioning properly

☐ Radiators - working

☐ Fireplace - not being used improperly (if present)

☐ Furniture - no damage (if furnished)

ISSUES IDENTIFIED:

Issue 1: _________________________________________________________

Action required: _________________________________________________

Priority: High / Medium / Low     Target date: __________

Issue 2: _________________________________________________________

Action required: _________________________________________________

Priority: High / Medium / Low     Target date: __________

Issue 3: _________________________________________________________

Action required: _________________________________________________

Priority: High / Medium / Low     Target date: __________

TENANT FEEDBACK:

Any concerns raised by tenant: ___________________________________

________________________________________________________________

________________________________________________________________

OVERALL ASSESSMENT:

☐ Property well-maintained

☐ Minor issues requiring attention

☐ Significant issues requiring urgent action

☐ Tenant maintaining property well

☐ Tenant care concerns identified

Additional comments: _____________________________________________

________________________________________________________________

________________________________________________________________

Photos taken: Yes / No     Number of photos: _______

Next inspection due: __________

Inspector signature: ________________________   Date: __________

Print name: _________________________________________________